## Oprema
EVIDENCA RAZISKOVALNE OPREME S PODATKI O MESEČNI UPORABI
RO: | 1510
Znanstveno-raziskovalno središče Koper
|  | Polja z zelenim ozadjem so lahko objavljena na portalu SICRIS | [12 empty] | Struktura lastne cene za uporabo raziskovalne opreme (v EUR/uro) | [13 empty] | MESEČNO POROČILO - ZA MESEC AVGUST 2023
Številka RS | Šifra PS / IS (za P-14) | Skrbnik opreme | Številka skrbnika | Naziv opreme | Leto nabave | Naziv opreme v angleškem jeziku | Nabavna vrednost (EUR) | Vir sofinanciranja iz javnih sredstev (Paket ARRS, drugi javni viri) | Opis postopka dostopa do opreme - (čas, največ 5 stavkov) | Opis postopka dostopa do opreme v angleškem jeziku | Namembnost opreme in dodatne informacije (največ 5 stavkov) | Namembnost opreme in dodatne informacije v angleškem jeziku | Inventarna številka v knjigovodski evidenci | Cena za uporabo raziskovalne opreme za izučenega uporabnika (v EUR/uro) | Stroški amortizacije | Stroški materiala in storitev za vzdrževanje opreme | Stroški dela | Skupaj lastna cena/uro | Letna stopnja izkoriščenosti v % v pretek. koled. letu | Stopnja odpisanosti v % konec pret. koled. leta | Spletna stran RO (predstavitev opreme, pogoj dostopa,cenik) | Klasifikacija Univ. v Leedsu |  |  | Klasif. MERIL | Zap.št. nakupa (če je vir sofinanciranja Paket ARRS) | Stroški dela za operaterja (se prištejejo ceni za uporabo za neizučene uporabnike) | Doba amortiziranja | Mesečna stopnja izkoriščenosti (v %) v navednem mesecu | Projekt oz. program 1 |  |  | Projekt oz. program 2 |  |  | Projekt oz. program 3 |  |  | Projekt oz. program 4 |  |  | Drug namen |  |  | Drug namen |  |  | Drug namen
[22 empty] | #C | #O | #G | [5 empty] | Šifra programa oz. projekta | Uporabnik | % upor. | Šifra programa oz. projekta | Uporabnik | % upor. | Šifra programa oz. projekta | Uporabnik | % upor. | Šifra programa oz. projekta | Uporabnik | % upor. | Namen | Uporabnik | % upor. | Namen | Uporabnik | % upor. | Namen | Uporabnik | % upor.
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 46 | 47 | 48
8 | I0-0052 | Peter Čerče | 10756 | Arhiv spomina 2 | 2018 | Memory archive 2 | 66270.86 | Paket 17 | Oprema je fiksno nameščena v sistemskem prostoru ZRS Koper in je v uporabi brez prekinitev | The equipment is permanently installed in the premises of the SRC Koper and is in the conitunous use | Oprema je namenjena informacijski podpori raziskovalnemu delu vseh raziskovalnih inštitutov in infrastrukturnih enot matične ustanove | Purpose of the equipment is ICT support of all the research institutes and infrastructural units of SRC Koper | 1180026 | 0 | 0 | 0 | 13.11 | 13.11 | 100 | 84 | http://www.zrs-kp.si/index.php/research/infra-program/ | 6 | 1 | 1 | 23 | 80 | 13.11 | 5 | 100 | P6-0272 | Egon Pelikan | 10 | P5-0381 | Rado Pišot | 20 | P6-0279 | Lenart Škof | 10 | P5-0409 | Vesna Mikolič | 10 | P6-0434 | Nadja Furlan Štante | 10 | I0-0052 | Peter Čerče | 20 | raziskovalni projekti |  | 20
7 | I0-0052 | Milena Bučar Miklavčič | 18697 | Tekočinski kromatograf | 2002 | HPLC Agilent 1100 with Fluorescence detektor and highly sensitive UV -visible detector | 75112.67 | Paket 11 | Oprema je fiksno nameščena v prostorih akreditiranega Laboratorija za preskušanje oljčnega olja ZRS Koper. | The equipment is permanently installed in the accreditated laboratory of olive oil testing at the SRC Koper | Oprema je namenjena raziskavam in rednemu spremljanju kakovostnih parametrov oljk in oljčnega olja. Z navedeno opremo preučujemo biofenolno sestavo, tokoferole, sestavo maščobnih kislin, hlapne substance, potvorbe oljčnega olja. | Research equipment for olive oil analyses | 1020020 | 2.3529 | 0 | 2.35 | 18.83 | 21.18 | 72 | 100 | http://www.zrs-kp.si/index.php/research/infra-program/ | 3 | 11 | 5 | 4 | 298 | 18.83 | 5 | 0
3 | P5-0381 | Matej Kleva | 50196 | Telemetrični merilni sistem za diagnostiko srčne in živčno-mišične aktivnosti | 2006 | Telemetric system for cardio-vascular and skeletal muscle diagnostics | 50492.4 | Paket 13 | Oprema je dostopna v času razpoložljivosti (predvsem od ponedeljka do petka med 8. in 13. uro) v prostorih Mediteranskega centra zdravja ZRS Koper ter po predhodnem individualnem dogovoru. Uporabo opreme zaračunavamo po internem veljavnem ceniku. | The equipment is installed in the Laboratory of the Mediterranean Health Centre of ZRS Koper. Use of the equipement by other research institutions is subject of availability and accessible through prior individual agreement, but mainly from Monday till Friday between 8AM and 1PM. The cost is regulated by internal price list and is subject to change. | Merilni sistem omogoča merjenje srčne frekvence in njeno prikazovanje na zaslonu računalnika v realnem času. Na osnovi te informacije lahko trener odzivneje regulira potek vadbe/tekmovanja. Podsistem (Newtest) omogoča vrednotenje maksimalne hitrosti teka in maksimalne eksplozivne moči nog ter zgornjega dela trupa. | System enables telemetric measurement of the hear rate in real time. On the basis of this information coach couold delegate the training session or competition. Furthermore, it could measures skeletal muscle activation patternsst and functional tests (sprint velocity, jumping power) | 1070007 | 17 | 0 | 17 | 14.41 | 31.41 | 0 | 100 | http://www.zrs-kp.si/index.php/research/infra-program/ | 4 | 3 | 3 | 17 | 72 | 14.41 | 5 | 0
3 | P5-0381 | Matej Kleva | 50196 | Noraxon Telemetry TeleMyo | 2008 | Noraxon Telemetry TeleMyo | 28315 | Paket 14 | Oprema je dostopna v času razpoložljivosti (predvsem od ponedeljka do petka med 8. in 13. uro) v prostorih Mediteranskega centra zdravja ZRS Koper ter po predhodnem individualnem dogovoru. Uporabo opreme zaračunavamo po internem veljavnem ceniku. | The equipment is installed in the Laboratory of the Mediterranean Health Centre of ZRS Koper. Use of the equipement by other research institutions is subject of availability and accessible through prior individual agreement, but mainly from Monday till Friday between 8AM and 1PM. The cost is regulated by internal price list and is subject to change. | Prenosni elektromiografski sistem meri živčno-mišično aktivnost med gibanjem in omogoča analizo signalov v časovnem in frekvenčnem prostoru. | Portable telemetric EMG system combines high-quality, scientifically-reliable data with mobility and flexibility. It measures neuro-muscular activity during movement and allows real-time signal analysis. | 1080098 | 1.5 | 0 | 1.5 | 20.78 | 22.28 | 0 | 100 | http://www.zrs-kp.si/index.php/research/infra-program/ | 4 | 3 | 3 | 60 | 45 | 20.78 | 5 | 0
3 | P5-0381 | Matej Kleva | 50196 | Odskočna deska Kistler | 2008 | Kistler vaulting board | 41563 | Paket 14 | Oprema je dostopna v času razpoložljivosti (predvsem od ponedeljka do petka med 8. in 13. uro) v prostorih Mediteranskega centra zdravja ZRS Koper ter po predhodnem individualnem dogovoru. Uporabo opreme zaračunavamo po internem veljavnem ceniku. | The equipment is installed in the Laboratory of the Mediterranean Health Centre of ZRS Koper. Use of the equipement by other research institutions is subject of availability and accessible through prior individual agreement, but mainly from Monday till Friday between 8AM and 1PM. The cost is regulated by internal price list and is subject to change. | Sistem je namenjen merjenju eksplozivne odrivne moči različnih vrst vertikalnih skokov, ravnotežja in zajemu kinetičnih parametrov koraka med hojo in tekom. | Kistler measurement system detects and accurately measures forces and moments during vertical jump movements, performes gait analysis and kinematic motion analysis in different fields of performance diagnostics. | 1080099 | 0.88 | 0 | 0.88 | 14.41 | 15.29 | 0 | 100 | http://www.zrs-kp.si/index.php/research/infra-program/ | 4 | 7 | 2 | 60 | 45 | 14.41 | 5 | 0
3 | P5-0381 | Matej Kleva | 50196 | Tekoča preproga Zebris | 2008 | Zebris treadmill ergometer | 46847 | Paket 14 | Oprema je dostopna v času razpoložljivosti (predvsem od ponedeljka do petka med 8. in 13. uro) v prostorih Mediteranskega centra zdravja ZRS Koper ter po predhodnem individualnem dogovoru. Uporabo opreme zaračunavamo po internem veljavnem ceniku. | The equipment is installed in the Laboratory of the Mediterranean Health Centre of ZRS Koper. Use of the equipement by other research institutions is subject of availability and accessible through prior individual agreement, but mainly from Monday till Friday between 8AM and 1PM. The cost is regulated by internal price list and is subject to change. | Tekalna preproga omogoča izvedbo večstopenjskih obremenilnih testov, trening teka, analizo pritiska na stopalo med stojo, hojo in tekom ter meritve časovno-prostorskih parametrov hoje in teka. | Zebris treadmill enables performance of multilevel stress tests, kinematic motion analysis, foot pressure analysis during standing, walking or running and can measure different time-space parameters of walking or running. | 1080100 | 2 | 0 | 2 | 18.64 | 20.64 | 4 | 100 | http://www.zrs-kp.si/index.php/research/infra-program/ | 4 | 7 | 2 | 60 | 45 | 18.64 | 5 | 0
3 | P5-0381 | Matej Kleva | 50196 | TMG MWave modul tenziomiogram | 2014 | TMG MWave modul Tensiomyogram | 20620 | Ostalo | Oprema je dostopna v času razpoložljivosti (predvsem od ponedeljka do petka med 8. in 13. uro) v prostorih Mediteranskega centra zdravja ZRS Koper ter po predhodnem individualnem dogovoru. Uporabo opreme zaračunavamo po internem veljavnem ceniku. | The equipment is installed in the Laboratory of the Mediterranean Health Centre of ZRS Koper. Use of the equipement by other research institutions is subject of availability and accessible through prior individual agreement, but mainly from Monday till Friday between 8AM and 1PM. The cost is regulated by internal price list and is subject to change. | Sistem je namenjen merjenju funkcionalne in lateralne asimetrije v hitrosti krčenja mišic in njihovega tonusa. | The system is designed to measure functional and lateral asymmetries in muscle contraction velocity and tone | 1140004 | 0.88 | 0 | 0.88 | 20.78 | 21.66 | 10 | 100 | http://www.zrs-kp.si/index.php/research/infra-program/ | 4 | 7 | 2 | 60 |  | 20.78 | 5 | 0
3 | P5-0381 | Matej Kleva | 50196 | Sistem za analizo mišične učinkovitosti in funkcionalnosti | 2018 | System for analysis of muscular performance and functionality | 80681.76 | Paket 17 | Oprema je dostopna v času razpoložljivosti (predvsem od ponedeljka do petka med 8. in 13. uro) v prostorih laboratorija Mediteranski center zdravja ZRS Koper ter po predhodnem individualnem dogovoru. Uporabo opreme zaračunavamo po internem veljavnem ceniku. | The equipment is installed in the Laboratory of the Mediterranean Health Centre of ZRS Koper. Use of the equipement by other research institutions is subject of availability and accessible through prior individual agreement, but mainly from Monday till Friday between 8AM and 1PM. The cost is regulated by internal price list and is subject to change. | Sklop vsebuje štiri sisteme za celovito analizo gibanja človeka, in sicer: 1) sistem za meritev gibljivosti posameznih segmentov človekovega telesa v 3D prostoru; 2) sistem za meritev eksplozivne moči celotnega telesa; 3) sistem za merjenje ravnotežja; 4) sistem za merjenje kognitivno-motorične učinkovitosti. Oprema tako predstavlja posebnost na področju analize gibanja, saj združuje merjenja kognitivno-gibalnega stika in tako omogoča spremljanje motoričnega razvoja, snovanje in spremljanje individualnih prilagoditev treninga ter intervencij. | Research equipment consists of four systems for a comprehensive analysis of human motion: 1) a 3D system for measuring the flexibility of individual body segments; 2) a system for measuring the full body explosive power; 3) a system for measuring static and dynamic balance; 4) a system for measuring cognitive-motor efficiency. The equipment represents a specialty in the field of motion analysis, since it combines measurements of cognitive-motor space, thus enabling the monitoring of motor development, designing physical and cognitive interventions and monitoring individual responses and adaptations. | 1180016 | 0.88 | 0 | 0.88 | 20.78 | 21.66 | 38 | 70 | http://www.zrs-kp.si/index.php/research/infra-program/ | 4 | 7 | 2 | 60 | 198 | 20.78 | 5 | 48 | [12 empty] | Projekt BedRest | Boštjan Šimunič | 100
7 | I0-0052 | Milena Bučar Miklavčič | 18697 | Plinski kromatograf 7890B GERSTEL | 2018 | Gas Chromatograph 7890B GERSTEL | 71412.82 | Paket 17 | Oprema je fiksno nameščena v prostorih akreditiranega Laboratorija za preskušanje oljčnega olja ZRS Koper. | The equipment is permanently installed in the accreditated laboratory of olive oil testing at the SRC Koper | Oprema je namenjena raziskavam in rednemu spremljanju kakovostnih parametrov oljk in oljčnega olja. Z navedeno opremo preučujemo biofenolno sestavo, tokoferole, sestavo maščobnih kislin, hlapne substance, potvorbe oljčnega olja. | Research equipment for olive oil analyses | 1180034 | 2.3529 | 0 | 2.35 | 18.83 | 21.18 | 49 | 54 | http://www.zrs-kp.si/index.php/research/infra-program/ | 3 | 11 | 5 | 4 | 194 | 18.83 | 5 | 0
8 | I0-0052 | Peter Čerče | 10756 | SMIP platforma za digitalizacijo raziskovanja | 2020 | SMIP (Smart Information Platform) platform for digital research | 113315 | Paket 18 | Oprema je fiksno nameščena v strežniškem sistemskem ZRS Koper in je v uporabi brez prekinitev | The equipment is permanently installed on the servers of SRC Koper and is in the conitunous use | Sklop informacijskih orodij in gradnikov s katerimi vzpostavljamo namenske aplikacije za beleženje in sprotno obdelavo podatkov prejetih v realnem času, nadzoru, upravljanju in integraciji različnih krmilnih naprav v skupen ekosistem interneta stvari. Omogoča povezovanje večjega števila pametnih naprav, uporabnikov in aplikacij v oblaku. | A set of information tools and widgets that we use to create dedicated applications for recording and processing of data in real time. It is designed for controlling, managing and integrating different devices (M2M - machine to machine) into a common ecosystem of the Internet of Things. It allows you to connect more smart devices, users and applications in the cloud. | 1200003 | 0 | 0 | 0 | 13.11 | 13.11 | 100 | 55 | https://www.zrs-kp.si/index.php/research/infra-program/ | 6 | 1 | 5 | 25 | 71 | 0 | 2 | 100 | I0-0052 | Peter Čerče | 100
3 | P5-0381 | Matej Kleva | 50196 | Sistem za analizo zmogljivosti | 2020 | Performance analysis system | 26057.54 | Paket 18 | Oprema je dostopna v času razpoložljivosti (predvsem od ponedeljka do petka med 8. in 13. uro) v prostorih laboratorija Mediteranski center zdravja ZRS Koper ter po predhodnem individualnem dogovoru. Uporabo opreme zaračunavamo po internem veljavnem ceniku. | The equipment is installed in the Laboratory of the Mediterranean Health Centre of ZRS Koper. Use of the equipement by other research institutions is subject of availability and accessible through prior individual agreement, but mainly from Monday till Friday between 8AM and 1PM. The cost is regulated by internal price list and is subject to change. | Sistem raziskovalne opreme omogoča meritve zmogljivosti celostno ali po posameznih sklopih: meritve vzdržljivosti, meritve srčne frekvence, meritve laktata, meritve hitrosti ter telesne sestave. Sistem omogoča celostno, kakovostno in objektivno analizo posameznika ali skupine. | The equipment is used to assess the athlete's physical performance in terms of endurance, speed and agility, as well as to assess body composition. | 1200004 | 2.35 | 0 | 2.35 | 18.83 | 21.18 | 18 | 30 | https://www.zrs-kp.si/index.php/research/infra-program/ | 4 | 7 | 4 | 4 | 135 | 18.83 | 5 | 58 | L7-3187 | Rado Pišot | 15 | [9 empty] | TRG | Matej Kleva | 25 | Projekt BedRest | Boštjan Šimunič | 60
7 | I0-0052 | Maja Podgornik | 27613 | Mreža meteoroloških postaj CERES basic | 2020 | CERES basic meteorological stations network | 38219 | Paket 18 | Oprema je fiksno nameščena na terenu v izbranih oljčnih nasadih | The equipment is permanently installed on the locations of selected olive fields | Oprema je namenjena širši javnosti, podpori AGROMETEOROLOŠKEMU PORTALU SLOVENIJE ter vsem raziskovalnim inštitucijam na področju kmetijstva in okolja | The equipment is available to the general public and give support to the AGROMETEOROLOGICAL PORTAL OF SLOVENIA and to the research institutions in the field of agriculture and the environment | 1200005 | 0 | 0 | 0 | 18.83 | 18.83 | 100 | 28 | https://www.zrs-kp.si/index.php/research/infra-program/ | 6 | 1 | 5 | 7 | 112 | 0 | 5 | 100 | I0-0052 | Vasilij Valenčič | 100
7 | I0-0052 | Milena Bučar Miklavčič | 18697 | FT-NIR spektrometer | 2020 | FT-NIR multi purpose analyzer | 104820 | Paket 17 | Oprema je fiksno nameščena v prostorih akreditiranega Laboratorija za preskušanje oljčnega olja ZRS Koper. | The equipment is permanently installed in the accreditated laboratory of olive oil testing at the SRC Koper | MPA II je zmogljivo orodje za razvijanje sofisticiranih kalibracijskih metod za laboratorijske ali procesne potrebe in enostaven pripomoček za rutinsko uporabo pri QA/QC. Modularna tehnologija omogoča individualno konfiguracijo za vsako posamezno analitično nalogo. | MPA II is a powerful tool for developing sophisticated calibration methods for laboratory or process requirements and an easy tool for routine use in QA / QC. The modular technology allows individual configuration for each analytical task. | 1200008 | 2.3529 | 0 | 2.35 | 18.83 | 21.18 | 9 | 28 | https://www.zrs-kp.si/index.php/research-2/lab-izo/ | 3 | 11 | 5 | 4 | 194 | 18.83 | 5 | 14 | I0-0052 | Milena Bučar Miklavčič | 92 | [9 empty] | Naloge državnega pomena | Milena Bučar Miklavčič | 8
7 | I0-0052 | Milena Bučar Miklavčič | 18697 | Tekočinski kromatograf HP 1200 II | 2020 | HPLC with Binary pump | 103137.54 | Paket 18 | Oprema je fiksno nameščena v prostorih akreditiranega Laboratorija za preskušanje oljčnega olja ZRS Koper. | The equipment is permanently installed in the accreditated laboratory of olive oil testing at the SRC Koper | Oprema je namenjena raziskavam in rednemu spremljanju kakovostnih parametrov oljk in oljčnega olja. Z navedeno opremo preučujemo biofenolno sestavo, tokoferole, sestavo maščobnih kislin, hlapne substance, potvorbe oljčnega olja. | Research equipment for olive oil analyses | 1200021 | 2.35 | 0 | 2.35 | 18.83 | 21.18 | 54 | 21.67 | https://www.zrs-kp.si/index.php/research/infra-program/ | 3 | 11 | 5 | 4 | 104 | 18.83 | 5 | 0
7 | I0-0052 | Milena Bučar Miklavčič | 18697 | UV spektrofotometer | 2020 | Spectrophotometer UV | 13870 | Paket 18 | Oprema je fiksno nameščena v prostorih akreditiranega Laboratorija za preskušanje oljčnega olja ZRS Koper. | The equipment is permanently installed in the accreditated laboratory of olive oil testing at the SRC Koper | Oprema je namenjena raziskavam in rednemu spremljanju kakovostnih parametrov oljk in oljčnega olja. Z navedeno opremo preučujemo biofenolno sestavo, tokoferole, sestavo maščobnih kislin, hlapne substance, potvorbe oljčnega olja. | Research equipment for olive oil analyses | 1200042 | 2.35 | 0 | 2.35 | 18.83 | 21.18 | 8 | 21.67 | https://www.zrs-kp.si/index.php/research/infra-program/ | 3 | 11 | 5 | 4 | 104 | 18.83 | 5 | 0
3 | P5-0381 | Matej Kleva | 50196 | Merilnik telesne sestave DXA (Dual energy X-rAy) Lunar Prodigy Pro Densitometer | 2020 | Dual-energy X-ray absorptiometry (DXA) Lunar Prodigy Pro Densitometer | 59323.17 | Paket 18 | Oprema je dostopna v času razpoložljivosti (predvsem od ponedeljka do petka med 8. in 13. uro) v prostorih laboratorija Mediteranski center zdravja ZRS Koper ter po predhodnem individualnem dogovoru. Uporabo opreme zaračunavamo po internem veljavnem ceniku. | The equipment is installed in the Laboratory of the Mediterranean Health Centre of ZRS Koper. Use of the equipement by other research institutions is subject of availability and accessible through prior individual agreement, but mainly from Monday till Friday between 8AM and 1PM. The cost is regulated by internal price list and is subject to change. | DXA naprave predstavljajo zlati standard merjenja telesne sestave (Dual-energy X-ray Absorptiometry), ki delujejo na osnovi rentgenskih žarkov z dvojno energijo. V Laboratoriju IKARUS uporabljamo visoko ločljivo napravo Lunar Prodigy Pro – P11 Full size z nameščenimi dodatnimi programskimi opcijami ‘Advanced Body Comp’ ter ‘Sarcopenia’. Naprava je primerna za spremljanje sestave celega telesa. | DXA devices are the gold standard for body composition measurements (Dual-energy X-ray Absorptiometry), based on dual-energy X-rays. At Laboratory IKARUS we use the high-resolution Lunar Prodigy Pro - P11 Full size with the additional software options 'Advanced Body Comp' and 'Sarcopenia' installed. The device is suitable for monitoring whole body composition. | 1200044 | 2.35 | 0 | 2.35 | 18.83 | 21.18 | 0 | 20 | https://www.zrs-kp.si/index.php/research/infra-program/ | 6 | 4 | 2 | 10 | 110 | 18.83 | 5 | 25 | [12 empty] | Bed rest | Boštjan Šimunič | 65 | TRG | Matej Kleva | 35
3 | P5-0381 | Matej Kleva | 50196 | COSMED Quark CPET | 2021 | COSMED Quark CPET | 38321.42 | Paket 18 | Oprema je dostopna v času razpoložljivosti (predvsem od ponedeljka do petka med 8. in 13. uro) v prostorih laboratorija Mediteranski center zdravja ZRS Koper ter po predhodnem individualnem dogovoru. Uporabo opreme zaračunavamo po internem veljavnem ceniku. | The equipment is installed in the Laboratory of the Mediterranean Health Centre of ZRS Koper. Use of the equipement by other research institutions is subject of availability and accessible through prior individual agreement, but mainly from Monday till Friday between 8AM and 1PM. The cost is regulated by internal price list and is subject to change. | Quark CPET je najsodobnejša aparatura za analizo izmenjave plina (VO2, VCO2) bodisi med testiranjem vadbe ali protokolom mirovanja, nameščena na tako imenovanem metaboličnem vozičku. Visokokakovostne komponente in izjemno hitri analizatorji zagotavljajo natančnost, zanesljivost in realno analizo izmenjave pljučnih plinov, tudi pri vadbah z visoko intenzivnostjo. | Quark CPET is a state-of-the-art apparatus for gas exchange analysis (VO2, VCO2) during either exercise testing or resting protocol, mounted on a so-called metabolic cart. High-quality components and ultra-fast analysers ensure accuracy, reliability and realistic analysis of lung gas exchange, even during high-intensity exercise. | 1210001 | 2.35 | 0 | 2.35 | 18.83 | 21.18 | 0 | 20 | https://www.zrs-kp.si/index.php/research/infra-program/ | 6 | 4 | 2 | 4 | 120 | 18.83 | 5 | 8 | [12 empty] | TRG | Matej Kleva | 100
7 | I0-0052 | Milena Bučar Miklavčič | 18697 | Plinski kromatograf s FID detektorjem, avtomatskim injektorjem in avtomatskim podajalnikom vzorcev | 2021 | Gas Chromatograph (GC) with flame-ionization detection (FID), automatic injector and automatic sample feeder | 49271.41 | Paket 18 | Oprema je fiksno nameščena v prostorih akreditiranega Laboratorija za preskušanje oljčnega olja ZRS Koper. | The equipment is permanently installed in the accreditated laboratory of olive oil testing at the SRC Koper | Osrednje raziskave na plinskem kromatografu s FID detektorjem potekajo na področju novih metod določevanja vsebnosti stigmastadienov, maščobnokislinske sestave in trans izomerov, vsebnosti sterolov, sterolne sestave in triterpenskih dialkoholov kot tudi odstotnega deleža 2‐gliceril mono palmitata. Z določevanjem vsebnosti stigmastadienov in trans izomerov maščobnokislinske sestave lahko ugotovimo primešanost rafiniranega oljčnega olja k deviškemu, razvoj ostalih metod pa temelji na ugotavljanju primešanosti olj, neoljčnega izvora. | The main research on the FID gas chromatograph is in the field of new methods for the determination of stigmastadiene content, fatty acid composition and trans isomers, sterol content, sterol composition and triterpene dialcohols as well as the percentage of 2-glyceryl mono palmitate. The determination of stigmastadienes and trans isomers of the fatty acid composition can be used to determine the admixture of refined olive oil with virgin olive oil, while the development of other methods is based on the determination of the admixture of oils of non-olive origin. | 1210034 | 2.35 | 0 | 2.35 | 18.83 | 21.18 | 0 | 7 | https://www.zrs-kp.si/index.php/research/infra-program/ | 3 | 11 | 5 | 4 | 104 | 18.83 | 86 | 34 | I0-0052 | Milena Bučar Miklavčič | 100
3 | P5-0381 | Uroš Marušič | 34516 | Oprema laboratorija SloMoBIL | 2021 | SloMoBIL (Slovenian Mobile Brain/Body Imaging lab) laboratory | 137295.37 | Paket 19 | Oprema je dostopna v času razpoložljivosti (predvsem od ponedeljka do petka med 8. in 13. uro) v prostorih laboratorija Mediteranski center zdravja ZRS Koper ter po predhodnem individualnem dogovoru. Uporabo opreme zaračunavamo po internem veljavnem ceniku. | The equipment is installed in the Laboratory of the Mediterranean Health Centre of ZRS Koper. Use of the equipement by other research institutions is subject of availability and accessible through prior individual agreement, but mainly from Monday till Friday between 8AM and 1PM. The cost is regulated by internal price list and is subject to change. | SloMoBIL sestavljajo moduli: Modul 1: Sistem merjenja elektrokortikalne aktivnosti možganov med gibanjem (Brezžična EEG oprema – mobilna elektroencefalografija za merjenje električne aktivnosti možganov CGX mobile 128 kanalov); Modul 2: Sistem navidezne resničnosti in exergaming orodja za potrebe treninga in Rehabilitacije (Oprema za zajem kinematike gibanja celotnega telesa v realnem času ter sistem navidezne resničnosti VR VIVE Pro Eye Arena (HTC VIVE) z dodatnimi senzorji za zajem gibanja); Modul 3: Sistem merjenja nevromišične učinkovitosti (oprema za merjenje elektromiografije visoke ločljivosti (hdEMG) 2x32 elektrod z električnim stimulatorjem ter 16-kanalno sinhronizacijsko enoto PowerLab 16/35 s programsko opremo LabChart). | SloMoBIL consists of modules: Module 1: System for measuring electrocortical activity of the brain during movement (Wireless EEG equipment - mobile electroencephalography for measuring electrical activity of the brain CGX mobile 128 channels); Module 2: Virtual reality system and exergaming tools for training and rehabilitation (Equipment for capturing kinematics of whole body movement in real time and VR VIVE Pro Eye Arena (HTC VIVE) virtual reality system with additional sensors for motion capture); Module 3: Neuromuscular Performance Measurement System (High-Definition Electromyography (hdEMG) 2x32 electrodes with electrical stimulator and 16-channel PowerLab 16/35 synchronisation unit with LabChart software). | 1210035 | 2.35 | 0 | 2.35 | 18.83 | 21.18 | 0 | 7 | https://www.zrs-kp.si/index.php/research/infra-program/ | 6 | 4 | 2 | 10 | 128 | 18.83 | 5 | 100 | [12 empty] | Projekt TwinBrain | Uroš Marušič | 100
7 | I0-0052 | Milena Bučar Miklavčič | 18697 | Oprema za hitro spremljanje parametrov kakovosti oljk in oljčnega olja (DS NIR spektrometer) | 2021 | Near-infrared spectrometer for rapid monitoring of olive and olive oil quality parameters (DS NIR spectrometer) | 66792.92 | Paket 18 | Oprema je fiksno nameščena v prostorih akreditiranega Laboratorija za preskušanje oljčnega olja ZRS Koper. | The equipment is permanently installed in the accreditated laboratory of olive oil testing at the SRC Koper | NIR analizator olja (Laboratorijski XDS-NIR SPEKTROMETER) je namenjen razvoju novih metod na področju ugotavljanja pristnosti oljčnega olja kot tudi uporabi pri že validiranih metodah za hitrejše in cenejše določevanje kakovosti oljčnega olja. Poleg kakovostnih parametrov je potrebno za ugotavljanje pristnosti določiti veliko število parametrov kot so določevanje metilnih estrov maščobnih kislin; določevanje trans-nenasičenih maščobnih kislin, določevanje vsebnosti tokoferolov in tokotrienolov, določevanje stigmastadienov, določevanje vsebnosti voskov, določevanje razlike med dejansko in teoretsko vsebnostjo triacilglicerolov z ECN 42; določevanje sestave in vsebnosti sterolov; določevanje vsebnosti alifatskih alkoholov, določevanje 2-glicerilmonopalmitata in alkilestrov. | The NIR oil analyser (Laboratory XDS-NIR SPECTROMETER) is designed for the development of new methods in the field of olive oil authentication as well as for the application of already validated methods for faster and cheaper determination of olive oil quality. In addition to quality parameters, a large number of parameters need to be determined for authentication, such as the determination of fatty acid methyl esters; the determination of trans-unsaturated fatty acids, the determination of tocopherols and tocotrienols, determination of stigmastadienes, determination of wax content, determination of the difference between the actual and theoretical triacylglycerol content by ECN 42; determination of sterol composition and content; determination of aliphatic alcohols, determination of 2-glyceryl monopalmitate and alkyl esters. | 1210050 | 2.35 | 0 | 2.35 | 18.83 | 21.18 | 0 | 5 | https://www.zrs-kp.si/index.php/research/infra-program/ | 6 | 4 | 1 | 4 | 133 | 18.83 | 5 | 0
8 | I0-0052 | Peter Čerče | 10756 | Podatkovni center CBZKD | 2022 | Data center CBZKD | 58183.1 | Paket 20 | Oprema je fiksno nameščena v sistemskem prostoru ZRS Koper ter v dislocirani enoti in je v uporabi brez prekinitev | The equipment is permanently installed in the premises of the ZRS Koper and in the detached unit, and is in the conitunous use | Podatkovni center CBZKD je sklop raziskovalne opreme za nadgradnjo obstoječe strežniške infrastrukture in je prvenstveno namenjena vzpostavitvi in povezavi novega dokumentacijskega centra, ki bo deloval v sklopu infrastrukturne organizacijske enote Center za beneško zgodovino in kulturno dediščino (CBZKD) z informacijsko infrastrukturo na sedežu ZRS Koper. | The CBZKD Data Centre is a set of research equipment for the upgrade of the existing server infrastructure and is primarily intended for the establishment and connection of the new documentation centre, which will operate within the Centre for Venetian History and Cultural Heritage (CBZKD) infrastructure organisational unit, with the information infrastructure at the ZRS Koper headquarters. | 1220026 | 0 | 0 | 0 | 13.11 | 13.11 | 0 | 0 | https://www.zrs-kp.si/index.php/research/infra-program/ | 6 | 1 | 1 | 23 | 148 | 13.11 | 5 | 100 | I0-0052 | Peter Čerče | 100
3 | P5-0381 | Boštjan Šimunič | 21102 | MC-DAQ-16 kanalni | 2022 | MC-DAQ-16 kanalni | 48205.76 | Paket 20 | Oprema je dostopna v času razpoložljivosti (predvsem od ponedeljka do petka med 8. in 13. uro) v prostorih laboratorija Mediteranski center zdravja ZRS Koper ter po predhodnem individualnem dogovoru. Uporabo opreme zaračunavamo po internem veljavnem ceniku. | The equipment is installed in the Laboratory of the Mediterranean Health Centre of ZRS Koper. Use of the equipement by other research institutions is subject of availability and accessible through prior individual agreement, but mainly from Monday till Friday between 8AM and 1PM. The cost is regulated by internal price list and is subject to change. | Oprema omogoča večkanalno (do 16) merjenje mišične mehanske aktivnosti, na osnovi zajema odebelitve trebuha mišice in vibracij mišičnih vlaken ob krčenju. Lahko se uporablja tudi za merjenje premikov tetiv. Oprema omogoča merjenje v izometričnih in dinamičnih kontrakcijah in s tem merjenje medmišične sinhronizacije, potenciacije in utrujenosti. Sistem izloča analogne signale, ki jih zajemamo preko kontrolerjev (A/D) v računalnik. | The equipment provides multi-channel (up to 16) measurement of muscle mechanical activity, based on the thickening of the muscle belly and the vibration of the muscle fibres during contraction. It can also be used to measure tendon movements. The equipment allows measurement in isometric and dynamic contractions, thus measuring intermuscular synchronisation, potentiation and fatigue. The system outputs analogue signals which are captured via controllers (A/D) to a computer. | 1220008 | 0.88 | 0 | 0.88 | 20.78 | 21.66 | 0 | 0 | http://www.zrs-kp.si/index.php/research/infra-program/ | 4 | 7 | 2 | 60 | 150 | 20.78 | 5 | 0

## Pojasnila k obrazcu
Pojasnila k obrazcu
Splošno | Obrazec je opredeljen z Navodilom za oblikovanje cen za uporabo raziskovalne opreme, obveščanje in poročanje o uporabi raziskovalne opreme, št. 007-10/2013-1 z dne 3.7.2013 (Navodilo).
Klasifikacija | ARRS spremlja dve klasifikaciji opreme:
Klasifikacijo opreme je razvila Univerza v Leedsu, VB. Spletna stran je:
http://researchsupport.leeds.ac.uk/index.php/academic_staff/research_equipment_infrastructure/
MERIL klasifikacija predstavlja pregled najodličnejše evropske raziskovalne infrastrukture; več o tem na
http://portal.meril.eu/converis-esf/static/about
Pripombe ali predloge k klasifikaciji ali k prevodu v slovenščino prosimo javite na ARRS.
SICRIS | Polja z zelenim ozadjem v zavihku Oprema-Equipment so lahko objavljena na SICRIS.
Cena uporabe opreme | Ceno uporabe in lastno ceno (stolpca 15 in 19) navedete za izučenega uporabnika.
Stroški dela za operaterja | Če je uporaba možna ali predpisana z operaterjem, ceno operaterja DODATNO navedite v stolpcu "Stroški dela za operaterja (se prištejejo ceni za uporabo za neizučene uporabnike)".
V tem primeru je cena uporabe enaka (ceni uporabe za izučenega uporabnika) + (stroški dela za operaterja).
Cene uporabe ne pišete v druga polja, npr. "Dostop do opreme".
Cena na uro | Ceno vedno navedite preračunano na uro, tudi če meritev obvezno traja več ur ali cel dan (to podrobnost dodajte v "Dostop do opreme").

## Klasifikacija - Uni-Leeds
#C | Razred | Class | #O | Red | Order | #G | Vrsta | Genus
1 | Procesna Oprema – Fizikalna | Process Equipment – Physical | 1 | Nanašanje tankih filmov | Thin Film Deposition | 1 | Izparjevalec | Evaporator
[6 empty] | 2 | Epitaksija z molekularnim žarkom | Molecular Beam Epitaxy
[6 empty] | 3 | Pršilnik | Sputterer
[6 empty] | 4 | Nanašanje s pulznim laserjem | Pulsed Laser Deposition
[6 empty] | 5 | Nanašanje s kemijskimi hlapi | Chemical Vapour Deposition
[6 empty] | 6 | Elektro-nanašanje | Electrodeposition
[6 empty] | 7 | Nanašanje z ionskim žarkom | Ion Beam Deposition
|  |  | 2 | Litografija | Lithography | 1 | Optična | Optical
[6 empty] | 2 | Elektronski žarek | Electron beam
[6 empty] | 3 | Karakterizacija | Ion Beam
[6 empty] | 4 | Laser (nameri-piši) | Laser (Direct-Write)
|  |  | 3 | Jedkanje | Etching | 1 | Reaktivni ion | Reactive Ion
[6 empty] | 2 | Plazma | Plasma
[6 empty] | 3 | Laser | Laser
[6 empty] | 4 | Mehansko | Mechanical
[6 empty] | 5 | Frezanje z ionskim žarkom | Ion Beam Milling
|  |  | 4 | Kontrolirano okolje | Controlled Environment | 1 | Peč | Furnace
[6 empty] | 2 | Hitri toplotni temperiranje | Rapid Thermal Annealer
[6 empty] | 3 | Komora z rokavicami | Glove Box
[6 empty] | 4 | Atmosferski reaktor | Atmospheric Reactors
|  |  | 5 | Pakiranje | Packaging | 1 | Vezava z žico | Wire Bonding
[6 empty] | 2 | Rezanje | Dicing
[6 empty] | 3 | Enkapsulacija | Encapsulation
|  |  | 6 | Karakterizacija | Characterisation | 1 | Elipsometrija | Ellipsometry
[6 empty] | 2 | Profilometer | Profilometer
|  |  | 7 | Kemijski Reaktor | Chemical Reactor | 1 | Kristalizacija | Crystallisation
[6 empty] | 2 | Distilacija | Distillation
[6 empty] | 3 | Paralelna sinteza | Parallel Synthesis
[6 empty] | 4 | Tvorba delčkov | Particle Formation
[6 empty] | 5 | Avtomatska ekstrakcija | Automated Extraction
[6 empty] | 6 | Avtomatska sinteza | Automated Synthesis
|  |  | 8 | Manipulacija vzorcev | Sample Manipulation | 1 | Manipulacija tekočin | Liquid Handling
[6 empty] | 2 | Robot | Robot
[6 empty] | 3 | Ustavljeni pretok | Stopped Flow
|  |  | 9 | Tekstili | Textiles | 1 | Produkcijo tekstilov | Textiles Production
[6 empty] | 2 | Tiskanje tekstilov | Textiles Printer
2 | Procesna Oprema – Biološka | Process Equipment – Biological | 1 | Rast in manipulacija | Growth and Manipulation | 1 | Bakteriologija | Bacteriology
[6 empty] | 2 | Virologija | Virology
[6 empty] | 3 | Celične kulture | Cell Culture
[6 empty] | 4 | Fermentologija | Fermentology
|  |  | 2 | Centrifuge | Centrifuge | 1 | Ultracentrifuge | Ultracentrifuges
[6 empty] | 2 | Visokih hitrosti | High Speed
|  |  | 3 | Procesiranje tkiv | Tissue Processing | 1 | Procesor tkiv | Tissue Processor
[6 empty] | 2 | Kriostat | Cryostat
[6 empty] | 3 | Mikrotom | Microtome
[6 empty] | 4 | Imunski označevalec | Immunostainer
[6 empty] | 5 | Dehidracija | Dehydration
[6 empty] | 6 | Celični disruptor | Cell Disruptor
|  |  | 4 | Sterilizacija | Sterilisation | 1 | Avtoklav | Autoclave
[6 empty] | 2 | Purifikcija vode | Water Purification
[6 empty] | 3 | Iradiacija | Irradiation
[6 empty] | 4 | VHP dekontaminacija | VHP Decontamination
|  |  | 5 | Karakterizacija | Characterisation | 1 | Fluorescenčni bralniki | Fluorescent Readers
[6 empty] | 2 | UV | UV
[6 empty] | 3 | Infra-rdeča | Infra-Red
[6 empty] | 4 | Celični števci | Cell Counters
[6 empty] | 5 | Ploščni bralniki | Plate Readers
[6 empty] | 6 | Analizatorji | Analysers
[6 empty] | 7 | Scintilacijski števci | Scintillation Counters
3 | Karakterizacija materialov | Materials Characterisation | 1 | Spektroskopija | Spectroscopy | 1 | Raman | Raman
[6 empty] | 2 | Infra-rdeča | Infra-Red
[6 empty] | 3 | Jedrska magnetna resonanca | Nuclear Magnetic Resonance
[6 empty] | 4 | Optična | Optical
[6 empty] | 5 | EPR | EPR
[6 empty] | 6 | Rentgenska fotoemisijska | X-ray Photoemission
[6 empty] | 7 | Fluorescenca | Fluorescence
[6 empty] | 8 | Cirkularni dikrometer | Circular Dichrometer
|  |  | 2 | Spektrometrija | Spectrometry | 1 | Spektrofotometrija | Spectrophotometry
[6 empty] | 2 | Rentgenska | X-ray
[6 empty] | 3 | Masna spektrometrija | Mass Spectrometry
|  |  | 3 | Slikanje-Imaging | Imaging | 1 | Magnetna resonanca | Magnetic Resonance
[6 empty] | 2 | Rentgenska | X-ray
[6 empty] | 3 | Infra-rdeča | Infra-Red
[6 empty] | 4 | Ultrazvočna | Ultrasound
[6 empty] | 5 | In Vivo Fluorescenca | In Vivo Fluorescence
|  |  | 4 | Optična mikroskopija | Optical Microscopy | 1 | Confokalna | Confocal
[6 empty] | 2 | Bližnjega polja | Near Field
[6 empty] | 3 | Transmisijska | Transmission
[6 empty] | 4 | Reflekcijska | Reflection
[6 empty] | 5 | Microdisekcijska | Microdissection
[6 empty] | 6 | Živih celic | Live Cell
[6 empty] | 7 | Fluorescenčna | Fluorescence
[6 empty] | 8 | Stereo | Stereo
|  |  | 5 | Elektronska mikroskopija | Electron Microscopy | 1 | Skenska | Scanning
[6 empty] | 2 | Skenska transmisijska | Scanning Transmission
[6 empty] | 3 | Transmisijska | Transmission
[6 empty] | 4 | Detektorji | Detectors
[6 empty] | 5 | Manipulacija vzorcev | Sample Manipulation
|  |  | 6 | Površinska mikroskopija | Surface Probe Microscopy | 1 | Atomsa sila | Atomic Force
[6 empty] | 2 | Skensko tuneliranje | Scanning Tunneling
[6 empty] | 3 | Magnetna sila | Magnetic Force
|  |  | 7 | Površinska analiza | Surface analysis | 1 | Naboj | Charge
[6 empty] | 2 | Adsorpcija | Adsorption
|  |  | 8 | Difrakcija | Diffraction | 1 | Rentgenska | X-ray
[6 empty] | 2 | Elektronov nizkih energij | Low Energy Electron
[6 empty] | 3 | Elektronov visokih energij | High Energy Electron
|  |  | 9 | Magnetometrija | Magnetometry | 1 | Vibrirajočih vzorcev | Vibrating Sample
[6 empty] | 2 | SQUID | SQUID
[6 empty] | 3 | Kerrov pojav | Kerr Effect
|  |  | 10 | Mehanske lastnosti | Mechanical Properties | 1 | Tenzometer | Tensometer
[6 empty] | 2 | Reometer | Rheometer
[6 empty] | 3 | Breme | Load
[6 empty] | 4 | Trdost | Hardness
[6 empty] | 5 | Tribometer | Tribometer
[6 empty] | 6 | Vibracija | Vibration
|  |  | 11 | Kemijska analiza | Chemical Analysis | 1 | Analiza zraka | Air Analysis
[6 empty] | 2 | Distilacijska analiza | Distillation Analysis
[6 empty] | 3 | Analiza vode | Water Analysis
[6 empty] | 4 | Trdne snovi | Solids
[6 empty] | 5 | Kromatografija | Chromatography
[6 empty] | 6 | Makromolekulska | Macromolecular
[6 empty] | 7 | Electroforeza | Electrophoresis
|  |  | 12 | Fizikalne lastnosti | Physical Properties | 1 | Analiza velikosti delcev | Particle Size Analysis
[6 empty] | 2 | Zeta Potencial | Zeta Potential
[6 empty] | 3 | Toplotne | Thermal
[6 empty] | 4 | Geometrijske | Geometric
[6 empty] | 5 | Ravnovesje | Balance
[6 empty] | 6 | Vlakna | Fibre
[6 empty] | 7 | Analitične centrifuge | Analytical Centrifuges
4 | Meritve in analiza vzorcev | Sample Measurement/ Analysis | 1 | Kriogenika | Cryogenic | 1 | 77K | 77K
[6 empty] | 2 | 4K | 4K
[6 empty] | 3 | 1.4K | 1.4K
[6 empty] | 4 | He3 | He3
[6 empty] | 5 | mili-Kelvin | milli-Kelvin
|  |  | 2 | Elektronska | Electronic | 1 | Analizator mrež | Network Analyser
[6 empty] | 2 | Mikrovalovne | Microwave
[6 empty] | 3 | Radiofrekvenčne | RF
[6 empty] | 4 | Osciloskopi | Oscilloscope
|  |  | 3 | Gibanje | Motion | 1 | Visokohitrostni video | High Speed Video
[6 empty] | 2 | Nizkohitrostni video | Low Speed Video
[6 empty] | 3 | Telemetrija | Telemetry
[6 empty] | 4 | Tekočine | Fluid
[6 empty] | 5 | Haptika | Haptics
|  |  | 4 | Laser | Laser | 1 | Karakterizacija | Characterisation
[6 empty] | 2 | Barvila | Dye
[6 empty] | 3 | Ekscimer | Excimer
[6 empty] | 4 | Vlakna | Fibre
[6 empty] | 5 | Visokih moči | High Power
[6 empty] | 6 | Opto-akustični sistemi | Opto-Acoustic Systems
[6 empty] | 7 | Pulzni femtosekundni | Pulsed Femtosecond
[6 empty] | 8 | YAG | YAG
|  |  | 5 | Optična | Optical | 1 | Kvantne informacije | Quantum Information
[6 empty] | 2 | Površinska plazmonska resonanca | Surface Plasmon Resonance
[6 empty] | 3 | Dualna polarizacija | Dual-polarisation
[6 empty] | 4 | Bolometrija | Bolometric
[6 empty] | 5 | Slikanje-Imaging visoke ločljivosti | High Resolution Imaging
|  |  | 6 | Proteini/Nukleinske kisline | Proteins/Nucleic Acids | 1 | Matrika | Arrays
[6 empty] | 2 | PCR | PCR
[6 empty] | 3 | Sekvencerji | Sequencers
[6 empty] | 4 | Sintetizatorji | Synthesisers
[6 empty] | 5 | Electroforeza | Electrophoresis
|  |  | 7 | Bio-Medicinske | Bio-Medical | 1 | Kardiovaskularne | Cardiovascular
[6 empty] | 2 | Ortopedske | Orthopedic Wear
[6 empty] | 3 | Zobne | Dental
[6 empty] | 4 | Celo telo | Whole Body
[6 empty] | 5 | Celice | Cells
[6 empty] | 6 | Tkiva | Tissues
|  |  | 8 | Akustične | Acoustic | 1 | Doppler | Doppler
[6 empty] | 2 | Ultrazvok | Ultrasound
[6 empty] | 3 | Avdio | Audio
|  |  | 9 | Terenske | Field Deployable | 1 | Trdne snovi | Solids
[6 empty] | 2 | Tekočine | Liquids
[6 empty] | 3 | Plini | Gases
[6 empty] | 4 | Plazme | Plasmas
5 | Velika Instrumentacija | Large Scale Instruments | 1 | Simulirana okolja | Simulated Environments | 1 | Akustika | Acoustics
[6 empty] | 2 | Izgorevanje | Combustion
[6 empty] | 3 | Vožnja | Driving
[6 empty] | 4 | Zračni prevoz | Flight
6 | Infrastruktura | Infrastructure | 1 | Informacijska tehnologija | IT | 1 | Server | Server
[6 empty] | 2 | Skladiščenje | Storage
[6 empty] | 3 | Delovna postaja | Workstation
[6 empty] | 4 | Paralelno računanje | Parallel Computing
[6 empty] | 5 | Delo s podatki | Data Management
[6 empty] | 6 | Prikaz | Display
|  |  | 2 | Mehanična | Mechanical | 1 | Hidravlika | Hydraulic
|  |  | 3 | Delavnica | Workshop | 1 | CNC stroji | CNC Machines
[6 empty] | 2 | Vrtanje | Drill
[6 empty] | 3 | Drobljenje | Grinding
[6 empty] | 4 | Spajanje | Joining
[6 empty] | 5 | Vrtilna miza | Lathe
[6 empty] | 6 | Mletje | Milling
[6 empty] | 7 | Žaganje | Sawing
[6 empty] | 8 | Sintranje | Sintering
[6 empty] | 9 | Drzga rezanja | Other Cutting
|  |  | 4 | Laboratorij | Laboratory | 1 | Tekočine | Fluids
[6 empty] | 2 | Medicinski | Medical
[6 empty] | 3 | Kontrolirana atmosfera | Controlled Atmosphere
[6 empty] | 4 | Kontrolirano okolje - soba za rast | Controlled Environment Growth Room
[6 empty] | 5 | Kontrolirano okolje - skladiščenje | Controlled Environment Storage
[6 empty] | 6 | Elektromagnetna zaščita | Electromagnetic Screening
[6 empty] | 7 | Optična | Optical
[6 empty] | 8 | Terenski | Field Deployable
|  |  | 5 | Kriogenska | Cryogenic | 1 | Utekočinjevalec | Liquefier
|  |  | 6 | Vozila | Vehicles | 1 | Za osebje | Personnel
[6 empty] | 2 | Za opremo | Equipment
[6 empty] | 3 | Kmetijska | Agricultural
|  |  | 7 | V živo | In Vivo | 1 | Sistemi za pranje in namakanje | Washing and Watering Systems

## Klasifikacij MERIL
Številka | Klasifikacija | Category
1 | Akustične opazovalne postaje | Acoustic monitoring stations
2 | Sistemi za letalske in vesoljske ter aerodinamične raziskave | Aerospace and aerodynamics research facilities
3 | Centri za agronomijo, gozdarstvo in žlahtnjenje rastlin | Agronomy, Forestry, Plant Breeding Centres
4 | Sistemi za analize | Analytical Facilities
5 | Sistemi s poskusnimi živalmi | Animal facilities
6 | Detektorji in opazovalnice astro-delcev in nevtrinov | Astro-particle and neutrino detectors and observatories
7 | Atmosferski merilni sistemi | Atmospheric Measurement Facilities
8 | Bio-banke vključno s semenskimi bankami | Biobanks including Seed banks
9 | Sistemi za bioinformatiko | Bio-informatics Facilities
10 | Sistemi za biomedicinsko slikanje | Biomedical Imaging Facilities
11 | Raziskovalna oprema za celične kulture | Cell Culture Facilities
12 | Centri za napredne raziskave v matematiki | Centers for advanced research in mathematics
13 | Centri za razvoj industrijske matematike | Centers for development of industrial mathematics
14 | Centralizirani računalniški sistemi | Centralised Computing Facilities
15 | Kemične knjižnice in presejalni sistemi | Chemical Libraries and Screening Facilities
16 | Raziskovalna infrastruktura za gradbeništvo | Civil Engineering Research Infrastructures
17 | Raziskovalna oprema za klinične raziskave | Clinical Research Centres
18 | Zbirke | Collections
19 | Komunikacijska omrežja | Communication Networks
20 | Sistemi za kompleksne podatke | Complex Data Facilities
21 | Konceptualni modeli | Conceptual Models
22 | Interdisciplinarni centri v matematiki | Cross disciplinary centers in mathematics
23 | Arhivi podatkov, repozitoriji in zbirke | Data Archives, Data Repositories and Collections
24 | Baze podatkov | Databases
25 | Sistemi za zbiranje in analize podatkov, vključno s statistično analizo | Data Mining and Analysis (Methodological) Centers, including statistical analysis
26 | Porazdeljene računalniške zmogljivosti | Distributed Computing Facilities
27 | Sateliti za opazovanje Zemlje | Earth Observation satellites
28 | Podatkovni centri o zemlji, oceanih, morjih, sladkih vodah in atmosferi | Earth, Ocean, Marine, Freshwater, and Atmosphere Data Centres
29 | Laboratoriji za simulacije potresov | Earthquake Simulation Laboratories
30 | Sistemi električnega in optičnega inženiringa | Electrical and Optical Engineering Facilities
31 | Sistemi energetskega inženiringa (nejedrskega) | Energy Engineering Facilities (non nuclear)
32 | Sistemi za raziskave na področju varstva okolja | Environmental Health Research Facilities
33 | Infrastrukture za upravljanje z okoljem | Environmental Management Infrastructures
34 | Sistemi za ekstremne razmere | Extreme Conditions Facilities
35 | Sistemi za genomiko, transkriptomiko, proteomiko in metabolomiko | Genomic, Transcriptomic, Proteomics and Metabolomics Facilities
36 | Sistemi za geotermalne raziskave | Geothermal Research Facilities
37 | Observatoriji in detektorji gravitacijskih valov | Gravitational wave detectors and Observatories
38 | Sistemi fizike visokih energij | High Energy Physics Facilities
39 | "In situ" zemljske opazovalnice | In situ Earth Observatories
40 | "In situ" morske / sladkovodne opazovalnice | In situ Marine/Freshwater Observatories
41 | Intenzivni svetlobni viri | Intense Light Sources
42 | Intenzivni neutronski viri | Intense Neutron Sources
43 | Morski in pomorski inženirski sistemi | Marine &amp; Maritime Engineering Facilities
44 | Sistemi za sintezo ali testiranje materialov | Materials Synthesis or Testing Facilities
45 | Matematični kompetenčni centri | Mathematics Centres of Competence
46 | Sistemi s področja strojništva | Mechanical Engineering Facilities
47 | Mikro-in nanotehnološki sistemi | Micro- and Nanotechnology facilities
48 | Objekti za nacionalne statistike (pisarne) | National Statistical Facilities (offices)
49 | Zbirke s področja zgodovine narave | Natural History Collections
50 | Sistemi za jedrske raziskave | Nuclear Research Facilities
51 | Pilotni pogoni za procesna testiranja | Pilot Plants for Process Testing
52 | Polarne in kriosferske raziskovalne infrastrukture | Polar and Cryospheric Research Infrastructures
53 | Repozitoriji referenčnih materialov | Reference material repositories
54 | Registri in študije/podatkovne baze na osnovi anket | Registers and Survey-led Studies/Databases
55 | Repozitoriji | Repositories
56 | Raziskovalna letala | Research Aircraft
57 | Raziskovalni arhivi | Research Archives
58 | Raziskovalne bibliografije | Research Bibliographies
59 | Sistemi za raziskave podatkov | Research Data Service Facilities
60 | Raziskovalni sistemi | Research Facilities
61 | Raziskovalne knjižnice | Research Libraries
62 | Sistemi za za varnost | Safety Handling facilities
63 | Sistemi za programsko opremo | Software Service Facilities
64 | Observatoriji za trdno zemljo, vključno s seizmološkimi postajami | Solid Earth Observatories, including Seismological Monitoring Stations
65 | Testni sistemi za vesoljsko okolje | Space Environment Test Facilities
66 | Sistemi za strukturno biologijo | Structural Biology Facilities
67 | Sistemi za sistemsko/računsko biologijo | Systems Biology/Computational Biology Facilities
68 | Telemedicinski laboratoriji in tehnologije e-zdravja | Telemedicine laboratories and E-Health technologies
69 | Teleskopi | Telescopes
70 | Prevajalni raziskovalni centri | Translational Research Centres
71 | Podzemni laboratoriji | Underground Laboratories